Thesis Feasibility Report

Multimodal Mobile Stress Tracking — A Cortisol-Anchored, Wearable-Gated System

Scope: Data Science · Biomedical Engineering · mHealth Mobile Software

# 1. Thesis Concept and Market Gap

This project addresses a core bottleneck in mobile health (mHealth). Salivary cortisol is the clinical gold standard for tracking the hypothalamic–pituitary–adrenal (HPA) axis, but its high user friction — collection, timing, lab handling — makes it impractical for continuous, long-term monitoring. At the same time, packing chemical (cortisol), optical (HRV) and electrical (EDA) sensing into a single consumer wearable is an unsolved integration challenge: a sweat-based electrochemical cortisol sensor needs accumulated fluid at the skin, while EDA relies on relatively dry skin-contact electrodes, so the two compete for the same skin interface and are difficult to co-locate cleanly.

The academic innovation: rather than build a multi-sensor hardware device, the thesis proposes an Android software architecture that uses continuous, non-invasive digital proxies (HRV and EDA) as an intelligent gatekeeper, turning invasive salivary-cortisol testing into an occasional, targeted action rather than a rigid daily requirement. The contribution is the software system and the data-fusion logic, not new sensor hardware.

Supporting context: EDA + sweat-composition sensing (printed sensors review); wearable sweat cortisol sensor (MIP).

# 2. Core Methodological Evolution

The current baseline application combines salivary biomarkers (cortisol, DHEA) with validated psychometric questionnaires (PHQ-9, GAD-7, BDI-II, BRS) and a Random Forest classifier, reporting 89.3% accuracy (F1 0.896). (This baseline was established on simulated/rule-based pseudo-data; replacing it with real-data validation is an explicit aim of this project.) Adding continuous HRV and EDA telemetry evolves the system from a static “snapshot” tool into a predictive, real-time alerting system.

## 2.1 The Gatekeeper Logic

Continuous HRV and EDA are streamed passively. The system asks whether the telemetry is deviating chronically from the user's baseline; if not, it keeps the low-friction passive stream; if yes, it triggers an optional biochemical (saliva) check.

| Telemetry vs. baseline | Decision | Action |
| --- | --- | --- |
| Within normal range | NO | Keep passive HRV/EDA stream — low friction, continuous baseline |
| Chronic deviation detected | YES | Trigger optional biochemical stage — request a saliva cortisol check |

## 2.2 When the System Requests a Cortisol Check

- Adrenal-conflict identification: separate temporary acute arousal (high EDA / low HRV) from sustained endocrine burnout.

- Circadian calibration: a single weekly waking saliva sample re-anchors the model to the user's natural diurnal cortisol curve.

- Symptom-mismatch resolution: break the tie when subjective questionnaire answers conflict sharply with objective autonomic data.

# 3. Data Processing and the Time-Lag Challenge

A core scientific contribution is resolving multi-timescale data fusion. The three stress signals fire on very different biological timelines:

| Signal | Timescale | Mechanism |
| --- | --- | --- |
| EDA | 1–3 seconds | Sympathetic firing of sweat glands — near-instant |
| HRV | 1–5 min window | Autonomic balance from beat-to-beat intervals |
| Cortisol | 20–30 min lag | Endocrine release into saliva — strongly delayed |

To avoid training the model on misaligned data, the pipeline must be time-shifted: physiological features extracted at time t are mapped to the lagging biochemical label collected ~20–30 minutes later. Conceptually: features [HRV(t), EDA(t)] → target Cortisol(t + ~30 min). Phase-based labelling from the collection protocol is used to keep this alignment robust.

# 4. Three-Phase Roadmap

| Phase | Goal | What it proves |
| --- | --- | --- |
| Phase 1 — Algorithmic verification (public data) | Prototype on WESAD | The Random Forest pipeline extracts valid tonic/phasic EDA and frequency-domain HRV features and detects stress |
| Phase 2 — Clinical baseline anchoring (current app) | Validate the existing system on the cohort | How well PHQ-9/GAD-7 + cortisol capture baseline chronic stress / anxiety trends |
| Phase 3 — Gateway framework (optimisation) | Introduce wearable data | That adding HRV/EDA lets the system drop a large share of saliva tests (target ~80%) while maintaining accuracy |

The ~80% saliva-reduction figure is the headline hypothesis to be demonstrated, not an assumed result — it becomes the quantitative claim defended in the thesis.

# 5. Phase 1 in Detail: The WESAD Pilot (Already Started)

Before collecting cohort data or porting to Android, the pipeline is prototyped on the open-source WESAD dataset. WESAD isolates the software from hardware bugs and provides an academic benchmark used by hundreds of peer-reviewed papers (~88–93% on binary stress).

## 5.1 Our Result So Far

We have already run the pipeline on WESAD features with leave-one-subject-out validation (15 subjects, 1105 windows):

| Feature set | Accuracy | F1 |
| --- | --- | --- |
| EDA + HRV | 91.9% | 0.87 |
| EDA + HRV + Respiration | 92.9% | 0.89 |

Stress recall was ~90% and EDA was the single most important feature (~53% of importance), matching the literature. Adding respiration improved results — a clean preview of the gateway logic that adding a modality raises performance.

## 5.2 Technical Defenses for the Committee

- Feature engineering: extract RMSSD/SDNN/LF-HF for HRV and split EDA into tonic (SCL) and phasic (SCR) components (e.g. via NeuroKit2) — standard, reproducible features.

- WESAD lacks cortisol: WESAD builds Engine 1 (acute autonomic-arousal tracking); the custom cohort phase introduces the cortisol ground-truth mapping.

- Small sample / overfitting: use transfer learning — pre-train a generalised model on WESAD, then fine-tune on the small personal cohort. This adaptive generalise-then-personalise pattern is established for wearable stress detection.

Supporting papers: WESAD (UCI); Adaptive personalised stress detection (generalise → adapt → fine-tune); Multi-modal DL stress (tonic/phasic, time+freq features).

# 6. Supporting Evidence for the Design

- Adding a biomarker to wearable signals improves stress detection: in a real induced-stress study, adding cortisol to HRV raised accuracy by 10.3% (best 92.3%) — the inverse demonstration of our fusion logic.

- EDA and HRV carry strong cortisol/stress information: a wearable study modelling cortisol from physiology found EDA ≈ 60% of feature importance.

- The integrated multimodal direction is current and validated: Stressomic (Science Advances, 2025) shows continuous multi-hormone profiling, and the UC Irvine profiler (2026) pairs cortisol with heart-rate/skin-conductance sensing plus ML.

Supporting papers: Lindsay — cortisol + HRV (+10.3%); Liang — EDA ~60% importance; Stressomic; UC Irvine profiler.

# 7. Limitations and Honest Caveats

- The 89.3% baseline was on simulated data; real-cohort validation is required and is part of this plan.

- The single-device cortisol + EDA integration conflict is an engineering challenge, not a fully documented hard physical law; we frame it as motivation for the software-gateway approach.

- WESAD contains no cortisol — it validates only the autonomic (HRV/EDA) engine.

- The ~80% saliva-reduction target is a hypothesis to be demonstrated, dependent on cohort size and label quality.

- Cohort data needs ethics approval; stress signatures vary between people, so leave-one-subject-out evaluation and per-subject reporting are essential.

# 8. References

- WESAD: Wearable Stress and Affect Detection dataset (UCI).

- Lindsay (2022). HRV and salivary cortisol data in pregnant women — Dryad (cortisol +10.3%, best 92.3%).

- Liang et al. Cortisol Estimation using Wearable Wristbands (EDA ~60% importance).

- An Adaptive System for Wearable Devices to Detect Stress (generalise → adapt → fine-tune).

- A multi-modal deep learning approach for stress detection (tonic/phasic EDA, time + frequency).

- Stressomic: wearable microfluidic biosensor for multiple stress hormones (Science Advances, 2025).

- UC Irvine wearable bioelectronic stress profiler (cortisol + HR + EDA + ML, 2026).

- Printed Sensors for Quantifying Electrodermal Activity and Sweat Rate: A Review.

- A Wearable Molecularly Imprinted Electrochemical Sensor for Cortisol in Sweat.