Cortisol Monitor

Mobile Application

User Story & Technical Report

# 1. Introduction

Cortisol Monitor is an Android application that integrates validated psychological questionnaires, salivary biomarker collection, and machine learning to deliver personalized stress-level assessments to patients and their care teams.

This report describes the complete user story for the Cortisol Monitor application, with particular focus on three key development milestones:

| Milestone | Description |
| --- | --- |
| RBAC — Care Provider Mode | Role-based access control separating patient and clinician workflows, with full patient management capability for care providers. |
| New BLE Firmware Integration | Migration from classic Bluetooth (RFCOMM) to a GATT-based BLE firmware architecture with a new 4-characteristic service and structured packet protocol. |
| Rich Media in Guided Wizard | Introduction of full-screen step images and looping instructional video backgrounds inside the biomarker collection wizard to guide the patient through the protocol. |

# 2. Role-Based Access Control (RBAC)

A key feature of this release is a strict role separation between patients and care providers. Login credentials are verified against two independent database tables, and each role is routed to its own dedicated interface with different permissions.

## 2.1 Role Architecture

The system defines two roles stored in the local SQLite database:

| Role | Database Table | Identifying Credential | Entry Point |
| --- | --- | --- | --- |
| PATIENT | users | Email + password | Patient Dashboard → Assessment → QR Wizard |
| CARE_PROVIDER | care_providers | Email + password + Medical ID | Care Provider Dashboard → Patient Management |

At login, the system checks the care_providers table first. If the email matches a care provider record, the password is verified against that record; if correct the user is routed to the Care Provider Dashboard. Only if no care provider match is found does the system fall through to the patient table. This prevents a patient email from accidentally matching a clinician account.

## 2.2 Care Provider Profile

A care provider account stores a richer profile than a patient account, reflecting the professional context:

| Field | Description |
| --- | --- |
| Name | Full name displayed as 'Dr. <Name>' in the dashboard greeting |
| Medical ID | Unique identifier used to link patients to providers; enforced UNIQUE in DB |
| Email | Login credential (UNIQUE) |
| Organization | Hospital or clinic name |
| Designation | Professional title (e.g. Consultant, Registrar) |
| Department | Clinical department |
| Phone / Address / DOB / Gender | Supporting contact and demographic fields |

## 2.3 Care Provider Dashboard

The Care Provider Dashboard is the exclusive entry point for clinicians. It is never shown to patients.

The dashboard greets the provider by name with a time-aware message (Good morning / Good afternoon / Good evening) and displays their Medical ID. Three action cards are available:

| Action Card | Destination Activity | Purpose |
| --- | --- | --- |
| Register Patient | RegisterPatientActivity | Enroll a new patient, capture full demographics (name, DOB, sex, weight, height, medical conditions, relationship status), and link them to this provider via the cp_patient_info table. |
| Modify / Edit Patient | ModifyPatientActivity → EditPatientActivity | Update an existing patient's demographic or clinical data. |
| View History | ViewHistoryActivity | Review the full assessment and biomarker result history for any patient under this provider's care. |

All dashboard actions also trigger a background sync to push any locally modified records to the cloud via SyncManager.

## 2.4 Patient–Provider Relationship

The table cp_patient_info maintains a many-to-many relationship between patients and care providers using a composite primary key of (patient_email, provider_medical_id). This allows a patient to be followed by more than one clinician, and a clinician to manage multiple patients. Data in this table is also marked dirty and pushed to the cloud on every sync cycle.

## 2.5 Access Control Enforcement

| Capability | PATIENT | CARE_PROVIDER |
| --- | --- | --- |
| Complete mental health assessment | Yes | No (reads patient results only) |
| Perform biomarker collection | Yes | No |
| View own results history | Yes | Via History screen |
| Register a new patient | No | Yes |
| Modify patient demographics | No | Yes |
| View any patient's history | No | Yes (linked patients) |
| Access Developer Mode | No | No (separate dev path) |

# 3. User Story: Patient Workflow

As a patient, I want to complete a mental health assessment and provide a saliva sample so that I can receive a personalized stress level reading that my care team can review over time.

## 3.1 Registration and Login

The patient opens the app for the first time and is presented with the login screen. They can create an account or log in if already registered.

1    Register

The patient enters name, email address, date of birth, biological sex, and password. These details are stored in the local SQLite users table and are used to personalize the ML prediction (age and sex are features in the Random Forest model).

2    Log In

The system checks credentials against the care_providers table first, then the patient table. A matched patient is routed to the Patient Dashboard.

## 3.2 Patient Dashboard

The dashboard gives the patient one-tap access to all features: start a new assessment, view history, and begin biomarker collection. The dashboard also prompts the patient if they have incomplete questionnaires from a previous session.

## 3.3 Mental Health Assessment

The assessment is adaptive. A short screener determines which validated clinical instruments to present next. Scores from a previous session are always cleared before a new screener run, preventing stale data from influencing the new prediction.

### 3.3.1 Mental Health Screener (22 questions)

The patient answers 22 questions across six clinical domains using a 0–3 frequency scale.

| Part | Domain | Questions |
| --- | --- | --- |
| A | Mood and Energy | 5 |
| B | Anxiety and Stress | 5 |
| C | Sleep and Appetite | 2 |
| D | Cognition and Thinking | 5 |
| E | Repetitive Thoughts | 3 |
| F | Physical Symptoms | 2 |

### 3.3.2 Adaptive Follow-Up Questionnaires

| Questionnaire | Trigger Condition | Items | Range |
| --- | --- | --- | --- |
| PHQ-9 (Depression) | Part A >= 5 OR total > 15 | 9 | 0 – 27 |
| BDI-II (Depression) | (Part A + D) >= 10 OR Part C >= 4 | 21 | 0 – 63 |
| GAD-7 (Anxiety) | Part B >= 5 OR (Part E + F) >= 6 | 7 | 0 – 21 |
| BRS (Resilience) | Part F >= 4 | 6 | 1.0 – 5.0 avg |

### 3.3.3 Assessment Results and AI Stress Card

After completing all triggered questionnaires the patient sees a Results screen. A colour-coded summary card at the top of the screen shows the Random Forest model's prediction:

| Prediction | Colour | Meaning |
| --- | --- | --- |
| Low Stress | Green #2E7D32 | Healthy psychological functioning. |
| Medium Stress | Orange #E65100 | Moderate indicators; self-care recommended. |
| High Stress | Dark Red #B71C1C | Significant indicators; clinical review recommended. |

# 4. Rich Media in the Biomarker Collection Wizard

Each step of the QR Wizard now features a full-screen visual background — either a static instructional image or a looping instructional video — giving the patient clear visual guidance through the sample collection protocol.

## 4.1 Implementation

The wizard layout contains two overlapping background layers managed at runtime:

| Layer | Android View | Used For | Resource |
| --- | --- | --- | --- |
| Static image | ImageView (imageBackground) | Steps 1, 2, 3, 4, 5 — process photos of each collection stage | Drawables: ic_step_collection, ic_step_extraction, ic_step_storage, ic_step_loading |
| Looping video | TextureView (videoBackground) + MediaPlayer | Analyzer step — short instructional clip showing device operation | Raw resource: video_step7_analyser |
| Scrim overlay | View (videoScrim) | Semi-transparent dark overlay on top of both layers so white text and UI elements remain readable | Applied to both image and video layers |

When moving between wizard steps, the active layer is swapped: showImageBackground() hides the TextureView and reveals the ImageView; showVideoBackground() does the reverse. The Media Player is prepared asynchronously and set to loop indefinitely so the video runs for as long as the patient is on that step. Resources are released when the activity is destroyed.

## 4.2  Step-by-Step Media Map

| Wizard Step | Media Type | Content |
| --- | --- | --- |
| Step 1 — Saliva Collection (5 min timer) | Full-screen image | Photo of the saliva collection tube and patient positioning for sample collection |
| Step 2 — QR Code Scan (Kit) | Full-screen image | Photo of the sample extraction process and kit QR code location |
| Step 3 — QR Code Scan (Device) | Full-screen image | Photo of the cartridge being placed into the reader device |
| Step 4 — BLE Connection | Full-screen image | Photo of the loaded device ready for Bluetooth pairing |
| Step 5 — Result Incubation (20 min timer) | Looping video | Short clip showing the optical analyser device running the measurement cycle |

# 5. New Firmware Integration — Technical Detail

The hardware interface was completely rearchitected to support a new BLE GATT-based firmware. The old RFCOMM (classic Bluetooth serial) approach was replaced by a structured GATT service with four dedicated characteristics and an event-driven measurement pipeline.

## 5.1 BLE GATT Service Layout

Device name: Optical_Detector_1

Primary Service UUID: 19b10000-e8f2-537e-4f6c-d104768a1214

| Characteristic | UUID (suffix) | Properties | Role |
| --- | --- | --- | --- |
| Char 1 — Photodiode Data | …10001… | Write + Notify | Receives 13-byte optical packets (dark and signal readings from PD1, PD2, PD3). App writes CMD_DARK (0x00) or CMD_SIGNAL (0x01) to trigger readings. |
| Char 2 — LED Control | …10002… | Read + Write | Sets LED brightness (0–255). Default: 200 (~90% power, optimised for fluorescence excitation). |
| Char 3 — Gain Control | …10003… | Read + Write | Sets the MCP41XXX digital potentiometer gain wiper (0–255). Default: 128 (mid-scale balanced sensitivity). |
| Char 4 — Device Status | …10004… | Read + Write + Notify | Returns 6-byte status packet: VBAT_H, VBAT_L, VBUS_H, VBUS_L, LED_Brightness, Gain_Wiper. Polled every 2 s in Developer Mode. |

## 5.2 Optical Packet Protocol

Each measurement cycle produces a 13-byte notification from Char 1. The packet uses framing bytes to delimit each photodiode's 16-bit ADC value:

| Byte(s) | Value | Description |
| --- | --- | --- |
| 0 | 0xFF (START_BIT) | Packet start marker |
| 1–2 | uint16 big-endian | Sequence number |
| 3 | 0xFE (SEPARATOR_BIT) | Field separator |
| 4–5 | uint16 big-endian | PD1 raw ADC count |
| 6 | 0xFE | Field separator |
| 7–8 | uint16 big-endian | PD2 raw ADC count |
| 9 | 0xFE | Field separator |
| 10–11 | uint16 big-endian | PD3 raw ADC count |
| 12 | 0xFD (END_BIT) | Packet end marker |

ADC counts are converted to voltage using the ADS1118 reference voltage (FSR ±2.048 V, single-ended range 0 to +2.048 V, 15-bit resolution):

voltage = ADC_count × 2.048 / (2¹⁵ − 1)

## 5.3 Measurement Pipeline

The measurement cycle is Handler-driven (replacing the previous ScheduledExecutorService) and fully event-based:

1    Trigger dark reading

App writes CMD_DARK (0x00) to Char 1. Device closes the LED and reads baseline photodetector values. State machine moves to DARK_PENDING.

2    Receive dark notification

Char 1 notifies with the 13-byte dark packet. PD1/PD2/PD3 dark counts are stored. App writes CMD_SIGNAL (0x01). State moves to SIGNAL_PENDING.

3    Receive signal notification

Char 1 notifies with the signal packet. Voltages are computed for both dark and signal readings. processSignalValues() calculates net absorbance and derives cortisol/DHEA concentrations. State returns to IDLE.

4    Schedule next cycle

After completing a dark+signal pair, the Handler schedules the next dark trigger after the configured interval (default: 200 ms, i.e. 5 samples/second). This continues until the user stops the measurement.

## 5.4 BLE Write Queue

BLE GATT only permits one characteristic write to be in flight at a time. A write queue (LinkedList<Runnable>) serialises all write operations. Each write is dequeued only after the previous one's onCharacteristicWrite callback fires, preventing write collisions that would silently drop measurements.

## 5.5 Status Characteristic — Battery Monitoring

Char 4 returns a 6-byte status packet encoding VBAT and VBUS as 16-bit big-endian values in millivolts, followed by the current LED brightness and gain wiper values. In Developer Mode this characteristic is polled every 2 seconds via a Handler loop to update the battery display. The values are exposed as volatile static fields (devBatteryVbat, devBatteryVbus) so they are accessible across activities.

| Field | Bytes | Description |
| --- | --- | --- |
| VBAT | 0–1 (uint16 big-endian) | Battery voltage in raw ADC counts (interpreted as mV) |
| VBUS | 2–3 (uint16 big-endian) | USB bus voltage in raw ADC counts |
| LED_Brightness | 4 | Currently active LED brightness setting (0–255) |
| Gain_Wiper | 5 | Currently active MCP41XXX gain wiper position (0–255) |

Battery polling is active only inside Developer Mode (every 2 000 ms). During normal patient operation the status values sit at their last-known value — real-time battery monitoring during a patient test session is not required.

# 6. Machine Learning Stress Prediction — Technical Detail

A trained Random Forest classifier (scikit-learn, serialized to ONNX IR version 9) is bundled with the app and runs entirely on-device using the ONNX Runtime for Android library (v1.17.0). No network connection is required for inference.

## 6.1 Pre-processing — StandardScaler

All 9 features are normalized before inference using a StandardScaler. The mean and standard deviation (scale) parameters were extracted from the training-time scaler.pkl and hardcoded in StressPredictor.java:

| Feature | Training Mean | Training Std Dev |
| --- | --- | --- |
| PHQ-9 Score | 9.59 | 7.2822 |
| BDI-II Score | 20.352 | 16.2247 |
| GAD-7 Score | 7.95 | 5.6458 |
| BRS Average | 3.2715 | 1.1709 |
| Cortisol (ng/mL) | 124.9059 | 42.4463 |
| DHEA (ng/mL) | 10.0677 | 2.9191 |
| Cortisol/DHEA Ratio | 12.4035 | 2.0615 |
| Age (years) | 41.98 | 13.7868 |
| Sex (0=F, 1=M) | 0.532 | 0.499 |

For assessment-only predictions (no biomarker data), the biomarker features are imputed with their training means so their z-scores equal 0, contributing a neutral signal rather than a false high- or low-stress bias.

## 6.2 ONNX Inference

The model is loaded from assets/random_forest_model_ir9.onnx at prediction time. Input tensor shape: [1, 9] (float32). The model exposes two outputs:

- output_label — int64 array of shape [1] containing the predicted class (0, 1, or 2).

- output_probability — ZipMap sequence (List<Map<Long, Float>>) containing per-class probabilities.

A critical implementation note: the output_label value is returned as a long[] Java array (not a scalar Long), so the inference code explicitly checks the runtime type before indexing. This prevents a ClassCastException that would silently suppress all predictions.

# 7. End-to-End Data Flow

| Stage | Action | Storage |
| --- | --- | --- |
| Registration / Login | Credentials verified; role determined | SQLite: users or care_providers table |
| Screener (22 Qs) | Section scores A–F computed; trigger flags set; previous QQ scores cleared | SQLite: questionnaire_summaries |
| Adaptive QQs | PHQ-9 / BDI / GAD-7 / BRS completed as triggered | SQLite: questionnaire_summaries (phq9_score, bdi_score, etc.) |
| ML Prediction | ONNX model runs; outputs Low / Medium / High | Displayed in-app; not persisted separately |
| Assessment Results saved | Assessment-only entry written to history | SharedPreferences: IntegratedResults |
| QR Wizard — Media | Images/video guide patient through saliva collection | Bundled as app resources (drawable, raw) |
| BLE Connection | GATT service discovered; LED + gain settings sent via Char 2 & 3 | Static fields in BluetoothManager |
| Optical Measurement | Dark+signal cycle at 5 Hz; voltages computed from ADS1118 counts | In-memory buffers; written to file on completion |
| Integrated Results | All scores + biomarker values combined; final classification stored | SharedPreferences: IntegratedResults (full entry) |
| Cloud Sync | Dirty records pushed to cloud on each dashboard load (SyncManager) | Remote cloud database |

# 8. Acceptance Criteria

| # | Criterion | Feature Area |
| --- | --- | --- |
| 1 | Login routes PATIENT to the patient dashboard and CARE_PROVIDER to the clinician dashboard — never mixing the two. | RBAC |
| 2 | A care provider can register a new patient, edit their demographics, and view their full result history. | RBAC |
| 3 | The cp_patient_info link table correctly associates patients with their responsible provider. | RBAC |
| 4 | A care provider email cannot be used to log in as a patient and vice versa. | RBAC |
| 5 | The QR Wizard displays the correct full-screen image for each collection step (1–4). | Rich Media |
| 6 | The looping video background plays correctly on the analyser step and is released cleanly on activity destroy. | Rich Media |
| 7 | The scrim overlay keeps text readable over both image and video backgrounds. | Rich Media |
| 8 | App connects to Optical_Detector_1 via BLE GATT and discovers all four characteristics. | Firmware |
| 9 | LED brightness and gain wiper values are sent to the device immediately on connection. | Firmware |
| 10 | Dark and signal readings are triggered in sequence and 13-byte packets are parsed correctly using the framing protocol. | Firmware |
| 11 | Voltage conversion uses the ADS1118 FSR (2.048 V) and 15-bit resolution formula. | Firmware |
| 12 | The write queue prevents simultaneous BLE GATT writes from being dropped. | Firmware |
| 13 | The ONNX model produces Low / Medium / High Stress based on actual questionnaire scores. | ML |
| 14 | A new screener session clears all individual questionnaire scores from the previous session. | ML / Screener |